## Slide 2: Green Data Center?
Reduces Data Center energy costs
Virtual Technology Implementation
Utilization improvement

## Slide 3
Increase Temperature Set Point
Energy Curtailment
iPDU Implementation
Reduction of Energy Consumption

## Slide 4: Virtual Technology Implementation
Reduced Data Center Footprint
Higher Density IT Technology

## Slide 5: Utilization Improvement
30” Raised Flooring
Hot Aisle / Cold Aisle Design
Air-Side Economizer

## Slide 6: Building Management System
Remote Management Capabilities
Monitors Entire Mechanical & Electrical Infrastructures
Data Center Management Tools

## Slide 7: South Data Center Design
High Level Engineers
Reliable General Contracting
IT Involvement at ALL STAGES
Testing and Commissioning

## Slide 8: Effective Business Model
IT and Facilities Collaboration
Project Management Workflow